DRO5.4 User Manual

1 Overview

The DRO program is a DOS application that interfaces to up to four quadrature position encoders and displays movements of the encoders on a computer screen.  When used on an obsolete desktop or laptop computer, it becomes a low cost alternative to commercial Digital ReadOut systems.  The program has many features found on commercial DRO systems, plus features not found on such systems (the Geometry Utilities).

The quadrature encoders are a method of converting linear motion into a stream of pulses, or steps.  The quadrature encoding method gives both a count of steps and a direction at the same time.  This allows the position to be computed by adding, or subtracting, a counter for each step.  When the steps are multiplied by a fixed step size calibration factor, the absolute position of whatever is being moved can be displayed on the screen.  The encoders can be direct linear displacement, rotary to linear displacement, or rotary sensing.  For some information on constructing rotary to linear conversion devices, see the appendix.
The primary application of this program is for machine tool axis position sensing.  The encoders are placed on a mill table, quill, or knee or on a lathe bed, cross-feed, or compound.  The displayed values are then the position of any of these axes’s as machining operations are carried out.
The program has been tested on a range of machines from a 386-33 to a 700mHz Pentium III.  This program should be run on a DOS operating system.  It reads I/O devices directly and requires real-time response to maintain accuracy of the displayed values.  It has been tested on DOS 3.2 up to DOS 8 (Windows XP floppy boot disks).

DRO uses a configuration file to remember the settings of the program options and the machine tool settings that you want to use. When the program is run for the first time you should not have any DRO configuration files in the same directory as the program (with a “.CFG” file type).  If you are upgrading from a previous version, you should delete or rename the .CFG files.  If a .CFG file for an older DRO release is found, a warning message will be displayed asking you to not start the program with this file.
2 Installation

The program is distributed in a ZIP file.  Two files are available, one with the program executable file and one with the source code.  The program ZIP file can be extracted in to any directory.  If the high-res graphics display is going to be used the DRO.FON file must be in the same directory.  If the help command is to be used the DRO.HLP file must be in the same directory.  The program is run from the DOS command line like:

DRO <enter>

An optional configuration file can be specified on the command line to customize the startup, something like:

DRO LATHE

Or

DRO BPORT

The filetype for the configuration file should be .CFG. The configuration file is created with the Program Options command from the Main Menu. If no filename is given on the command line, the default filename ENCODER.CFG will be created the first time the program exits after being started.  This file will then be used each time the program is started with no filename given.  If no configuration file is found, expect to see a warning message indicating a default file will be created.
3 Operation

3.1 General Operation

The program uses a full screen display with single keystroke commands.  Menus of available commands are displayed as the program runs.  The key to execute each command is highlighted in RED.  

Certain commands are available “all the time”.  These are Esc, Tab, and Home.  The “Esc” or escape key is usually in the upper left corner of the keyboard.  It will return back one menu level to a previous screen.  If an input value is expected, escape will cancel the input and not complete whatever function was in progress.  The Tab key will go straight to the counter display screen.  The Home key will go straight to the main menu.

Sound notes are played for most error conditions and as conformation for some operations that you commonly are not looking at the screen while performing.  If the sound is not wanted, it can be turned off in the Program Options screen.
3.2 Main Menu
[image: image1.png]2 = e B @S

myMachine

Read Encoders, display counters
Zero All Encoders

Program Options setup

Machine Tool Options setup
Geometry Utilities

Help

About

LPT1
ECP





The first screen DRO will display when started is the Main Menu.  The available commands are:

· Read Encoders goes to the counter display screen.

· Zero All Encoders is the master zero command.
· Program Options command will open the Program Options screen to change program related settings.
· Machine Tool Options setup is used to customize settings for a particular machine tool.

· Geometry Utilities allows you compute circle, triangle, and general expressions.

· Help reads and displays a help text file.

· About gives program version details.

3.2.1 Read Encoders 

The R command is the same as pressing the Tab key from any where in the program.  The counter display will be shown and encoder movements will count up or down the counters.  The counter display is either a character display or a graphic display.  The graphic display has larger characters that are easier to read, but consumes more compute power and may be too slow on very old PC hardware. If you are not using interrupt interface hardware, the graphic display is not available. The character display looks like the left image, the graphic display looks like right image:
[image: image2.png]myMachine
Absolute Mode

‘ode oad ‘dge ~enter =





[image: image3.png]myMachine
Absolute Mode

MNOIDO0N WOKe 1PV

EOO0O0

MNOIDO0N WOKe 1PV

EOO0O0

MNOIDO0N WOKe 1PV

EOO0O0

Vode! oad "dge enter O oo




Both displays show the same data, just different character sizes.  The first line shows a name assigned to this machine, myMachine in the example.  This can be set in the Machine Tool Options screen.
Active command keys in the encoder screen are highlighted in RED.  Entering an axis label key, X Y or Z in the example, will go to a configuration screen for that axis.  From the configuration screen various axis setup parameters can be changed.  The screen looks like this:
[image: image4.png]Count up/down
Reset to Zero
Current Value
Unit to Count by
Backlash on/off
Lash Distance
Lash Tension Dir.

Possible Errors

Rotary coordinates OFF

Places Shown Right of Decimal 4

[F2 E/M Conversion Mode Esc to return

+

0.000000

0.00050000000000

OFF

0.010000
Left
Displayed





This screen is where a counter can be preset to a specific value.  The counting direction can be changed (reversing the axis).  The number of decimal places can also be set.  This is also where the step size, or Unit to count by, can be set manually.  The Rotary coordinates feature allows an encoder to used on a rotary table or indexer head and have it read out on the screen.  Backlash allows a rotary encoder to be put on an axis screw shaft to measure movement and have the mechanical backlash in the screw shaft subtracted out of the DRO readings.

Back to the Read Encoders screen, the Mode command steps the counter modes from Absolute through 4 Incremental modes (A, B, C, D).  The Backspace key steps backward through the sequence. Note the space bar key can also be used to step forward through the modes.  The incremental modes can be used to set a “local” or temporary zero point without loosing the Absolute Zero point. The current mode is displayed on the second line at the top of the encoder display screen.

The Load command key allows you to select a coordinate pair from a stored pattern list.  This feature is commonly called the Bolt List.  The list can be a Circle, and Arc, or a Line.  If no list has been setup, you will be asked if you want to setup a list now.  The list is up to 99 points.
The Edge command is used to set an edge of the work piece as an axis zero.  This is commonly called auto zeroing.  Pressing the E command will cause the message “Select Axis to auto-zero?” to appear.  The message looks like this:
[image: image5.png]myMachine
Absolute Mode

X  [NGISEI0N Wm0 Py

EO000
v NGISEO0N Wm0 Py

EO000
z |NGISEOONN Moo Py

EO000

Axis to auto-zero 7
XY Z Vode! oad "dge enter O oo




You can select the target axis by either pressing the axis label key (X, Y, Z) or simply moving the axis.  The first axis to move after pressing E is the target axis.  Once the target axis is set, the message “Waiting for edge touch…” will appear.  The axis is then moved to touch the work piece.  This can be done with a wiggler type edge finder device, a piece of round bar stock, or a probe interfaced to the PC.  
The diameter of the auto Zero edge finder device is configured into the program in the Machine Tool Options screen.  If you are using an edge finder or bar stock, press the E key again when at the work piece edge.  The axis value will then be set to the radius of the edge finder device in the current mode, thus establishing the work piece edge as “Zero”. If a probe is used, the touch is sensed automatically and zero is set.  
When waiting for the edge touch to complete, the axis and the Edge command on screen is highlighted with color in graphics mode or by blinking in character mode.  The screen looks like this:
[image: image6.png]myMachine
Absolute Mode

© NGISEOON WO Py

EO000
v NGISEO0N Wm0 Py

EO000
z |NGISEOONN Moo Py

EO000

Waiting for edge touch ...
XY Z Vodeload!  Center O oo




The Center command works much like the edge command.  It is used to find the center of a work piece.  The axis is first moved to touch one side of the work piece.  Pressing the C command will cause the message “Axis to auto-center?” to appear.  You can select the target axis by either pressing the axis label key (X, Y, Z) or simply moving the axis.  The first axis to move after pressing C is the target axis.  
The edge finder is then moved to the other side of the work piece and the C key pressed again (if a probe is active no key press is required).  The counter for the axis will be set to one half of the distance moved.  This sets the center of the feature as the zero point, in the current mode.
The 0 (digit zero) command sets all of the axes to zero in the current mode.  Note the F1, F2, F3, and F4 keys set an individual axis to zero.

3.2.2 Zero All Encoders
The Z command is the master zero command.  It sets to zero all the encoder counters, and error counters, for absolute and all incremental modes.  You will be asked are you sure? As the following image shows.
[image: image7.png]2 = e B @S
[ Digital ReadOut - Quadrature Encoder Reader DROS.4 |

myMachine

Main Menu
Read Encoders, display counters

Zero All Encoders
Ma r





3.2.3 Program Options
 The P main menu command will open the Program Options menu screen:

[image: image8.png]2 = e B @S
[ Digital ReadOut - Quadrature Encoder Reader DROS.4 |

myMachine
am option )

Read a different Configuration File...

Save current Configuration to File

Create a new Configuration File...

Display update time delay setup...

Input port selection (currently Parallel port)...
Graphic display mode (now ON)

Auto display mode (now OFF

Sound OFF (now ON)





The R, S, and C commands can be used to Read, Save, or Create a new configuration file. 
The D command will change the display update time delay.  This is used to slow down screen updates in favor of monitoring encoder input steps.  The higher the delay number is the more the input data stream will be monitored to prevent missed steps (errors).  This time value is not used if a hardware interrupt interface is used to collect the encoder step data.
The I command selects the input port.  The input port can be either a parallel port printer interface or an external serial device (the external serial device is described in the appendix).  The port address and interrupt status can be set with this command.

The G command toggles the graphic display setting.  When ON the high-res graphic display is used, when OFF the character display is used.

The A command is used to set the auto display function.  When auto display is ON, the program will go straight to the encoder counter display screen at startup, bypassing the Main Menu.  When OFF the Main Menu will be the first screen displayed.

The S command turns ON or OFF the sound feature.  Sounds are played when certain events happen in the program.  If sounds are not wanted, set to OFF.

3.2.4 Machine Tool Options
The M main menu command is used to customize settings for a particular machine tool.  The screen looks like this:
[image: image9.png]T 12 5 22 ]

myMachine

Name this machine...

Edit axis configuration (add/delete/name/slew)...

Axis step calibration...
Lathe mode options...
Tachometer configuration...

RutoZero configuration...

[_[ofx]





The N command sets the name of the machine.  This can be set to things like Bridgeport, Lathe, Grinder, Mill #25, etc.  It can be used to remind you which machine you are interfaced to, or which configuration file has been loaded.  The string can contain any characters, including blanks.
The E command edits the axis configuration.  It is used to set which axes are being used, and displayed.  The axis name and a “label” can be set, and you can select whether to display the name or label next to the counter on the display.  The axis can be set to display a slew rate.  This is the speed the axis is currently moving.

[image: image10.png]2 = e B @S

myMachine
# Label  Name Display  Row
1: label 7
2: label 10
3: label 13
4

Enter # of the axis you wish to change 2
(ESC if done...)

Slew
Yes
Yes
Yes





The A command is used to calibrate an axis.  This process sets the distance for each quadrature encoder step.  The axis to calibrate is selected from a list.  Then the axis is moved from one end to the other of a known measurement unit.  This can be a precision piece of bar stock, a scale fixed to the table, or a caliper opened a certain distance held in a vise, I use a 12” dial caliper set to 12.2” and find the edges of the caliper ears with a .2” wiggler.  The longer the measure, the more accurately the step size can be set.  The calibration screen looks like this:
[image: image11.png]T 12 5 22 ]

myMachine
s Calibration Pr

Label Name Calibration units

Enter # of the axis you wish to calibrate 2

Position axis to one end of calibration measure
then press any key, except Esc.

[_[ofx]





The L command set Lathe axis features.  The lathe usually has three axis, the long length or bed, the cross slide, and the compound.  The bed is usually called Z.  The cross slide is called X and the compound is Z’.  The lathe options can only be used if there are encoders on all three axes. 
The cross slide carries the compound and the compound swivels on the cross slide.  The cross slide and compound interact, that is movement of one affects the other.  The DRO program can track this and display the “right” thing when any of the axes move.  

If the compound is set at 90 degrees to the bed axis, the current position of the tool bit is the sum of the cross and compound feed positions.  The Sum option adds the cross feed and compound, and displays the result in the cross feed display counter.

If the compound is set at an angle to the bed, compound movement changes both the cross and bed feed positions.  The Vector option will do the angle math and add to both the cross and bed feed display when the compound is moved.

[image: image12.png]2 = e B @S

#
1
2
3
4

Label Name

myMachine

Vector axis (angled compound

Sum axis (slidetcompound

Angle of compound

Diameter display





When the Vector option is set, the ratio of compound-to-bed feed and compound-to-cross feed will be indicated on the Lathe Options menu screen.  This will be something like 10:1 (or ten to one) meaning that a ten unit movement of the compound is a one unit move of the cross feed.  This is shown on the following image:

[image: image13.png]2 = e B @S

#
1
2
3
4

Label Name

myMachine

Vector axis (angled compound

Sum axis (slidetcompound

Angle of compound

Diameter display





The T command sets tachometer options.  The tachometer is a pulse input on either a serial port on the RS-232 RI input or a TTL input to the external decoder board.  The pulse can come from a Varity of sensors, typically an optical sensor with a vane that cuts through an LED light source or a reflective sensor “looking” at a shaft with a mark of some type on it.  The number of pulses per shaft revolution can be set, the more pulses per revolution the lower the RPM that can be senses.  A single pulse per rev can only sense as low as 60 RPM, two pulses 30 RPM, etc.
If a diameter is set, the Surface Feet per Minute (SFM) is displayed.  This can apply to either the speed of a cutting tool in a mill spindle or the cutting rate of a tool in contact with the work piece on a lathe.

[image: image14.png][ A BRI
myMachine
Configuration

Tachometer enable, currently DISABLED
Set Address of serial port to use, currently Ox2F8
Set Pulses per revolution, currently 1

Set Effective Diameter, currently 1.000





3.2.5 Geometry Utilities
The screen allows computations to be performed.  The results of a Circle, Arc, or Line computation is stored internally and can be used to guide positioning from within the Encoder Display screen with the Load command.  The Geometry Utilities screen looks like this:

[image: image15.png]2 = e B @S
[ Digital ReadOut - Quadrature Encoder Reader DROS.4 |

myMachine
Utiliti

Circle bolt hole position list...
Arc bolt hole position list...
Line bolt hole position list...
Triangle solving...

Expression Evaluator...





The C and A commands, Circle and Arc, are very similar.  The difference being the Arc command includes both end points of the arc in the position list, the Circle includes the first hole and the last hole before the end of the circle, but does not “wrap back” to the start of the circle.  
You will be asked for the number of holes, the circle diameter, the size of the holes, the angle that the first hole starts at, and the x,y offset.

The key inputs are the number of holes and the size of the circle.  The remaining questions can be answered with a blank line unless you want to tilt the circle or arc or move the origin away from 0,0.  If the hole size is given, a check to make sure the bolt holes do not overlap, or touch each other, will be done.
Once a list has been setup, the Load command on the Encoder Display screen will present the following screen:

[image: image16.png]2 = e B @S

B
Press N for new list.

Hole
> 1: 5.0000,

olt Hole
Select a hole from list, then press Enter

myMachine
lection

Last hole selected was number 1

0.0000 <--

UP/DOWN cur

and/or P

Mode=





The list can be re computed by entering the N command for a new list.

The red cursor arrows can be moved up and down with the cursor arrow keya and/or the page up and page down keys.  Once positioned, the enter key will load the selected coordinates in to the encoder counters such that you can move the axes to 0,0 and be at the bolt hole center.

The axes used by the load process can be changed by pressing the X or Y keys.  This will step through the available axes.

The bolt hole coordinates can be used either in Absolute mode or in one of the Incremental modes.  The default is to load them in to Incremental Mode A.  This can be changed with the M (and/or backspace) key to step through the modes.

4 Appendix
4.1 Rotary to linear conversion

Rotary to linear conversion involves wrapping a string or cable around a shaft that has an encoder wheel on it and fastening the cable to a moving component of the machine tool.  Movement of the machine tool axis drags the cable which rotates the shaft/wheel and the encoder pulses can be counted.

Here are several web sites with detailed information on constructing a converter:

http://ns1.dicomm.net/~axtein/dro/
http://www.lindsayengraving.com/other_interests/dro.html
http://webpages.charter.net/robertduncan/dro.html
4.2 External serial interface processor
This project is in development.
